## Instructions
Instructions for using the Drinking Water State Revolving Fund Rate Calculation
Welcome to the Drinking Water State Revolving Fund (DWSRF) Rate Calculation. Thank you for considering this rate program. For the benefit of the user, the rate program is not protected and can be modified to fit a participants specific needs. It is not a requirement of the DWSRF to use this program and using it does not waive the review requirements for participating in the DWSRF. This program is divided into four tabs Instruction, Budget and Rate Calculation, Replacement Schedule and Annuity Calculation.
In conjunction with this rate calculation there is a Water Use and User Charge Ordinance that may be used to fulfill the requirements of the DWSRF. These two ordinances may be used in their entirety as they include all required statements to satisfy Missouri Public Drinking Water Regulation 10 CSR 60-13.020 (2)(G) 3 and 4. It is not mandatory to use these ordinances and using them does not waive review requirements for participating in the DWSRF.
Both ordinances can be viewed and downloaded at the following site:
www.dnr.mo.gov/env/wpp/srf/dw-user-charge-ordinance.doc
This rate calculation is designed to determine the user charges according to actual use. It includes a method to accurately account for Debt Service, Operation and Maintenance, Replacement and revenues generated by the system.
The rate calculation is set up to have the Billing, Collection, Administration and Debt Service placed in the minimum charge. If the user wishes to move some of these cost to the volume charge they will have to make adjustments to the program. This is easily done if the user is familiar with excel.
Before Starting
Several pieces of information are needed before the user starts to use the rate calculation. These include: current city budget, all existing debt attributable to the public drinking water system, new debt service for the DWSRF loan, metered gallons sold to customers, number of billing periods and the replacement schedule.
Metered gallons sold must be used because it excludes water loss. If total gallons produced were used there would be a larger amount of water to divide the volume expenses by. This would result in a shortfall in revenue. Using metered gallons sold also allows the water loss to be distributed evenly between all users. Normal water loss may occur from: leaking mains, backwash, flushing the system, firefighting, faulty meters, etc.
The Replacement Schedule is a list of all equipment and may include storage tank cleaning and painting that will be needed over the next twenty years. Normal operating cost for materials and parts should not be included in the replacement schedule. The schedule provided can list all Items for a year and then add them for a yearly total. Each yearly total must be transferred to the last tab, the Annuity Calculation. The schedule will need adjusting to fit the needs of each specific user.
The Annual Annuity Calculation will use the yearly totals from the replacement schedule in todays estimates and account for inflation at a rate the user thinks is appropriate as well as the interest rate on the account the replacement funds will be deposited in. It will automatically calculate the amount to be deposited annually in the replacement account. It will also send this amount automatically to the second tab (Budget). If a number is manually placed in the budget for replacement, the automatic link to the Annual Annuity calculation will be broken.
Again this program is not protected. It is advisable to save a copy after it is downloaded as a separate document just as a precaution. Something may be deleted or written over while information is entered. If this can't be corrected, the second copy can be used to produce another working program without going back to the web site. Become familiar with the contents of each tab, particularly the Budget Tab. Work through the math to see how it generates a rate.
This program has information provided to show the user a completed rate calculation. To make a tailored rate calculation simply enter the users information and make any necessary adjustments. If you have questions, please call (573) 751-1192.
Using the Rate Calculation
First, start with the Replacement Schedule. Enter all the information provided by the users engineer for each year. Make adjustments in cells and spacing as necessary to fit the users needs. Check to insure the items all add up correctly to produce the yearly total. Do this for each of the twenty years.
Second, move to the Annual Annuity Calculation. Enter each yearly total from the Replacement Schedule into the same year on the Annual Annuity Calculation. Enter the inflation rate and the interest rate for the replacement account. This should produce the proper annual annuity and send it to the Budget Tab. It will show up in the budget on the Replacement Costs Annual Expense column.
Next, enter the budget information from the users current budget. Make adjustments to the item names shown, if needed, and add new item names specific to the users water system. Costs for each item must be placed in the corresponding Annual Expense column. At this time adjustments should be made to insure that expenses are divided into the Minimum or Volume charge columns that follow the budget. These expenses must be tied to the cells in the budget. The total of each column will be sent to a formula that will calculate the rate for a Minimum Charge and a Volume Charge once the next set is completed.
The final step is to enter the metered gallons sold, the number of billing periods and the number of service connections. The formulas that calculate the Minimum and Volume charges should now produce an accurate rate. The program will automatically calculate the revenue generated and compare it to the expenses shown and produce a surplus or (deficit). If there is a deficit look through the program for entry mistakes.
Tips and Things to Look Out for
Do not use highly variable sources of revenue in this rate calculation. The area for Other Sources of Revenue should be used for contract users or sales tax revenue. Highly variable sources for revenue include: connection fees, reconnection fees, permit for construction, fines and penalties, etc.
Watch for charging twice for the same gallons. This could occur if gallonage for contract users are included in the Volume Charge calculation. It could also occur if you specifically modify the program to collect for water loss. Water loss is already being collected for if metered gallons sold are used to calculate the rate.
Updating the Replacement Schedule annually when doing the same for the rates will help insure there are funds available to pay for replacement items when needed. Doing this will keep the user ready to replace items even after the loan is paid back. The replacement schedule is not the funding of depreciation. It is providing funds to cover replacement expenses over the design life of the drinking water improvements.
Remember, there are no protected cells in this program. If something is written over or links are broken the rate will not be accurate or may simply not work. It only takes about ten minutes to go over the finished rate program with a calculator to check for errors. Some errors may be very obvious and some hard to find. Once the program is set up for the users specific needs all that must be done each year is to enter the budget and the rest is automatic. Again, if you have questions, please contact the Water Protection Financial Assistance Center at (573) 751-1192.

## Budget
Appendix A to User Charge System
This appendix presents the methodology to be used in calculating user charge rates and illustrates the calculations followed in arriving at the first year's user charges. The unit costs established in this appendix are based on estimates of expenses. The actual expenses that occur may differ from these estimates and certainly they will change as time passes. Therefore, the unit cost must be reestablished whenever necessary to reflect actual expenses. Once the system is in use, the expenses can be determined from operating records and the unit costs can be adjusted based on these figures. By using the total water metered to customers as a bases for setting the rate, the cost of water loss is distributed even among users.
1. Expenses: The total annual expenses associated with the treatment works, as defined in article II, Section 8, are estimated as follows:
Item | [5 empty] | Annual Expense
Billing and Collection | [5 empty] | 25000
Administration | [5 empty] | 24326
Debt Service | [5 empty] | 1280770
Financial Audit | [5 empty] | 15000
Power | [5 empty] | 43313
Labor (including fringe benefits) | [5 empty] | 153721
Material Costs | [5 empty] | 14000
Replacement Costs (from Appendix C) | [5 empty] | 76193.3
Chemicals | [5 empty] | 173240
Water Audit/Leak Detection | [5 empty] | 5000
Other (specify) | [5 empty] | 0
Other (specify) | [5 empty] | 0
Other (specify) | [5 empty] | 0
Other (specify) | [5 empty] | 0
Other (specify) | [5 empty] | 0
Other (specify) | [5 empty] | 0
|  |  |  | Total Expenses |  | 1810563.3
Revenues Received from Other Sources
Dedicated Capital Improvement Sales Tax Revenue | [5 empty] | 5000
Other Revenue Fix Fee (specify) | [5 empty] | 2000
Other Revenue Volume Fee (specify) | [5 empty] | 3000
|  |  | Total Revenues form Other Sources: |  |  | 10000
|  | Total Expenses to be Derived from User Charges: |  |  |  | 1800563.3
2. Allocation of Expenses: The total operation and maintenance, including replacement expenses, is allocated in the following manner:
Minimum |  |  |  |  | Volume
Billing and Collection |  | 25000 |  |  | Power | 43313
Administration |  | 24326 |  |  | Labor (including fringe benefits) | 153721
Debt Service* |  | 1280770 |  |  | Material | 14000
Financial Audit |  | 15000 |  |  | Replacement (see Appendix C) | 76193.3
Other (specify) |  | 0 |  |  | Chemicals | 173240
Other (specify) |  | 0 |  |  | Water Audit/Leak Detection | 5000
Other (specify) |  | 0 |  |  | Other (Specify) | 0
Capital Improvement Sales Tax |  | -5000 |  |  | Other (Specify) | 0
Other Revenue Fix Fee (specify) |  | -2000 |  |  | Other Revenue Volume Fee (specify) | -3000
| Total | 1338096 |  |  | Total | 462467.3
* Note: The amount of debt service collected in the minimum bill is reduced by the revenues derived from the dedicated Capital Improvement Sales Tax.
3. Annual Metered Water, Billing and, Connection Information
|  | Total water metered to customers |  | 576700000 | Gallons Per Year
|  | Number of billing periods |  | 12
|  | Number of Service Connections |  | 6200
|  | Flow in Minimum Charge |  | 1000 | Gallons per Month
|  | Flow in Volume Charge |  | 502300000
4. Volume Charge
Volume Unit Charge |  | = | Annual cost allocated to volume
Total water metered to customers
|  | = | 462467.3
502300000
|  | = | 0.000921 |  | per gallon
|  | = | 0.93 |  | per 1000 gallons (rounded up)
5. Minimum Charge
Minimum Charge |  | = | Annual cost allocated to minimum/Number of service connections/Number of billing periods
|  | = | 17.9852
6. Example User Charge
| Assume | 5000 | gallons used.
| User Charge | = | Minimum Charge + [(Gallons Used/1,000) x Volume Charge per 1,000 gallons
|  | = | $17.99 + [(5,000-1,000/1,000) x $0.93]
|  | = | 21.7052 | per month
Are rates sufficient?
|  | Annual revenues generated from Minimum Charge | = | Minimum Charge per billing period x Number of Billing Periods x Number of Connections
|  | Annual revenues generated from Minimum Charge | = | $17.99 x 12 x 6,200
|  | Annual revenues generated from Minimum Charge | = | 1338096
Annual revenues generated from Residential Unit Charge |  |  | = | Volume Charge x Total Annual Flow in 1000 gallons
Annual revenues generated from Residential Unit Charge |  |  | = | $0.93 x 502,300,000/1,000
Annual revenues generated from Residential Unit Charge |  |  | = | 467139
|  | Total Annual Revenues | = | Annual revenues generated from Minimum Charge + Annual revenues generated from Residential Unit Charge
|  | Total Annual Revenues | = | $1,338,096.00 + $467,139.00
|  | Total Annual Revenues | = | 1805235
|  | Budget Surplus/(Deficit) | = | Total Annual Revenues - Total Expenses to be Derived From User Charges
|  | Budget Surplus/(Deficit) | = | $1,805,235.00 - $1,800,563.30
|  | Budget Surplus/(Deficit) | = | 4671.7

## Replacement Schedule
Appendix B to User Charge System
REPLACEMENT SCHEDULE
This appendix contains a replacement schedule that was developed to determine the amount of revenue needed to fund the Replacement Account. The replacement schedule lists the major equipment in the drinking water system, the estimated dates when the equipment will have to be replaced, and the estimated cost of replacement (based on today's cost) over the useful life of the drinking water system. The replacement dates and costs shown are estimates; the actual replacement dates and costs could be significantly different from those shown. If the actual replacement expenses differ significantly from those listed in the replacement schedule, the funding of the Replacement Account shall be adjusted accordingly. The Replacement Fund Calculation includes factors for inflation and interest. These should be adjusted to reflect actual interest and inflation rates.
Years From Treatment Works In Operation | Replacement Item | Cost Per Item | Yearly Total
1 | Replacement/repair 10% of meters (10 meters) | 5000
| Fire Hydrant Rebuild 10% of hydrants (2 hydrants) | 1000
| Iron and Manganese Filter Media | 1000
| Insert rows here | 0
| Replacement/repair 5% of lines (500 LF) | 50000 | 57000
2 | Replacement/repair 10% of meters (10 meters) | 5000
| Fire Hydrant Rebuild 10% of hydrants (2 hydrants) | 1000
| Iron and Manganese Filter Media | 1000
| Insert rows here | 0
| Replacement/repair 5% of lines (500 LF) | 50000 | 57000
3 | Replacement/repair 10% of meters (10 meters) | 5000
| Fire Hydrant Rebuild 10% of hydrants (2 hydrants) | 1000
| Iron and Manganese Filter Media | 1000
| Insert rows here | 0
| Replacement/repair 5% of lines (500 LF) | 50000 | 57000
4 | Replacement/repair 10% of meters (10 meters) | 5000
| Fire Hydrant Rebuild 10% of hydrants (2 hydrants) | 1000
| Iron and Manganese Filter Media | 1000
| Insert rows here | 0
| Replacement/repair 5% of lines (500 LF) | 50000 | 57000
5 | Replacement/repair 10% of meters (10 meters) | 5000
| Software Upgrades | 1000
| Fire Hydrant Rebuild 10% of hydrants (2 hydrants) | 1000
| UV Supplies | 7500
| Iron and Manganese Filter Media | 1000
| Insert rows here | 0
| Replacement/repair 5% of lines (500 LF) | 50000 | 65500
6 | Replacement/repair 10% of meters (10 meters) | 5000
| Fire Hydrant Rebuild 10% of hydrants (2 hydrants) | 1000
| Iron and Manganese Filter Media | 1000
| Insert rows here | 0
| Replacement/repair 5% of lines (500 LF) | 50000 | 57000
7 | Replacement/repair 10% of meters (10 meters) | 5000
| Fire Hydrant Rebuild 10% of hydrants (2 hydrants) | 1000
| Iron and Manganese Filter Media | 1000
| Insert rows here | 0
| Replacement/repair 5% of lines (500 LF) | 50000 | 57000
8 | Replacement/repair 10% of meters (10 meters) | 5000
| Equipment Hoists | 1500
| Fire Hydrant Rebuild 10% of hydrants (2 hydrants) | 1000
| Iron and Manganese Filter Media | 1000
| Insert rows here | 0
| Replacement/repair 5% of lines (500 LF) | 50000 | 58500
9 | Replacement/repair 10% of meters (10 meters) | 5000
| SCADA Upgrade | 30000
| Fire Hydrant Rebuild 10% of hydrants (2 hydrants) | 1000
| Iron and Manganese Filter Media | 1000
| Insert rows here | 0
| Replacement/repair 5% of lines (500 LF) | 50000 | 87000
10 | Replacement/repair 10% of meters (10 meters) | 5000
| Software Upgrades | 1000
| Fire Hydrant Rebuild 10% of hydrants (2 hydrants) | 1000
| UV Supplies | 7500
| Supply Well Pump and Control | 45000
| Supply Well Chlorine System | 10000
| Iron and Manganese Filter Media | 1000
| Insert rows here | 0
| Replacement/repair 5% of lines (500 LF) | 50000 | 120500
11 | Replacement/repair 10% of meters (10 meters) | 5000
| Fire Hydrant Rebuild 10% of hydrants (2 hydrants) | 1000
| Iron and Manganese Filter Media | 1000
| Insert rows here | 0
| Replacement/repair 5% of lines (500 LF) | 50000 | 57000
12 | Replacement/repair 10% of meters (10 meters) | 5000
| Fire Hydrant Rebuild 10% of hydrants (2 hydrants) | 1000
| Iron and Manganese Filter Media | 1000
| Storage Tank Painting (Interior and Exterior) (Planning) | 10000
| Insert rows here | 0
| Replacement/repair 5% of lines (500 LF) | 50000 | 67000
13 | Replacement/repair 10% of meters (10 meters) | 5000
| Fire Hydrant Rebuild 10% of hydrants (2 hydrants) | 1000
| Iron and Manganese Filter Media | 1000
| Storage Tank Painting (Interior and Exterior) (Planning) | 10000
| Insert rows here | 0
| Replacement/repair 5% of lines (500 LF) | 50000 | 67000
14 | Replacement/repair 10% of meters (10 meters) | 5000
| Fire Hydrant Rebuild 10% of hydrants (2 hydrants) | 1000
| Storage Tank Painting (Interior and Exterior) (Planning) | 10000
| Iron and Manganese Filter Media | 1000
| Insert rows here | 1000
| Replacement/repair 5% of lines (500 LF) | 50000 | 68000
15 | Replacement/repair 10% of meters (10 meters) | 5000
| Fire Hydrant Rebuild 10% of hydrants (2 hydrants) | 1000
| Software Upgrades | 1000
| UV Supplies | 7500
| Storage Tank Painting (Interior and Exterior) (Execution) | 10000
| Iron and Manganese Filter Media | 1000
| Insert rows here | 0
| Replacement/repair 5% of lines (500 LF) | 50000 | 75500
16 | Replacement/repair 10% of meters (10 meters) | 5000
| Iron and Manganese Filter Media | 1000
| Equipment Hoists | 1500
| Fire Hydrant Rebuild 10% of hydrants (2 hydrants) | 1000
| Insert rows here | 0
| Replacement/repair 5% of lines (500 LF) | 50000 | 58500
17 | Replacement/repair 10% of meters (10 meters) | 5000
| Fire Hydrant Rebuild 10% of hydrants (2 hydrants) | 1000
| Iron and Manganese Filter Media | 1000
| Insert rows here | 0
| Replacement/repair 5% of lines (500 LF) | 50000 | 57000
18 | Replacement/repair 10% of meters (10 meters) | 5000
| SCADA Upgrade | 30000
| Iron and Manganese Filter Media | 1000
| Fire Hydrant Rebuild 10% of hydrants (2 hydrants) | 1000
| Insert rows here | 0
| Replacement/repair 5% of lines (500 LF) | 50000 | 87000
19 | Replacement/repair 10% of meters (10 meters) | 5000
| Fire Hydrant Rebuild 10% of hydrants (2 hydrants) | 1000
| Iron and Manganese Filter Media | 1000
| Insert rows here | 0
| Replacement/repair 5% of lines (500 LF) | 50000 | 57000
20 | Replacement/repair 10% of meters (10 meters) | 5000
| Software Upgrades | 1000
| Fire Hydrant Rebuild 10% of hydrants (2 hydrants) | 1000
| UV Supplies | 7500
| Supply Well Pump and Control | 45000
| Supply Well Chlorine System | 10000
| Iron and Manganese Filter Media | 1000
| Insert rows here | 0
| Replacement/repair 5% of lines (500 LF) | 50000 | 120500
1388000

## Replacement Annual Annuity
You will need to enter the expected inflation rate and interest rate, as well as the estimated replacement costs.
Appendix C to User Charge System
REPLACEMENT FUND ANNUAL ANNUITY
(A separate sheet showing what items are to be replaced, what year, and estimated replacement cost, should also be attached.)
| Inflation |  | 1%
| Interest |  | 2%
| Initial Balance |  | 0
1%
| Estimated |  | Compound |  |  |  | Present |  | Adjusted | Interest on | Net
| Replacement | X | Amount | = | Future | X | Worth | = | Present | Fund | Fund
Year | Costs |  | Factor (F/P) |  | Worth |  | Factor (P/F) |  | Worth | Balance | Balance
| Initial Balance | [9 empty] | 0
1 | 57000 |  | 1.01 |  | 57570 |  | 0.98039 |  | 56441.18 | 0 | 18623.3
2 | 57000 |  | 1.0201 |  | 58145.7 |  | 0.96117 |  | 55887.83 | 372.47 | 37043.37
3 | 57000 |  | 1.0303 |  | 58727.157 |  | 0.94232 |  | 55339.91 | 740.87 | 55250.38
4 | 57000 |  | 1.0406 |  | 59314.4286 |  | 0.92385 |  | 54797.36 | 1105.01 | 73234.26
5 | 65500 |  | 1.051 |  | 68841.1583 |  | 0.90573 |  | 62351.56 | 1464.69 | 82051.09
6 | 57000 |  | 1.0615 |  | 60506.6486 |  | 0.88797 |  | 53728.17 | 1641.02 | 99378.76
7 | 57000 |  | 1.0721 |  | 61111.7151 |  | 0.87056 |  | 53201.43 | 1987.58 | 116447.92
8 | 58500 |  | 1.0829 |  | 63347.1173 |  | 0.85349 |  | 54066.15 | 2328.96 | 131623.06
9 | 87000 |  | 1.0937 |  | 95150.6187 |  | 0.83676 |  | 79617.78 | 2632.46 | 115298.2
10 | 120500 |  | 1.1046 |  | 133106.9661 |  | 0.82035 |  | 109194.07 | 2305.96 | 60690.49
11 | 57000 |  | 1.1157 |  | 63593.0958 |  | 0.80426 |  | 51145.58 | 1213.81 | 74504.5
12 | 67000 |  | 1.1268 |  | 75497.277 |  | 0.78849 |  | 59529.09 | 1490.09 | 76690.61
13 | 67000 |  | 1.1381 |  | 76252.2498 |  | 0.77303 |  | 58945.47 | 1533.81 | 78165.47
14 | 68000 |  | 1.1495 |  | 78164.2465 |  | 0.75788 |  | 59238.73 | 1563.31 | 77757.83
15 | 75500 |  | 1.161 |  | 87653.1561 |  | 0.74301 |  | 65127.59 | 1555.16 | 67853.13
16 | 58500 |  | 1.1726 |  | 68595.8507 |  | 0.72845 |  | 49968.36 | 1357.06 | 76807.64
17 | 57000 |  | 1.1843 |  | 67505.3526 |  | 0.71416 |  | 48209.8 | 1536.15 | 87031.74
18 | 87000 |  | 1.1961 |  | 104064.8304 |  | 0.70016 |  | 72861.97 | 1740.63 | 60900.84
19 | 57000 |  | 1.2081 |  | 68862.2102 |  | 0.68643 |  | 47269.14 | 1218.02 | 69449.95
20 | 120500 |  | 1.2202 |  | 147032.8998 |  | 0.67297 |  | 98948.93 | 1389 | -0.65
| 1388000 | [7 empty] | 1245870
[5 empty] | Less Initial Deposit |  |  |  | 0
1245870
[5 empty] | Capital Recovery Factor |  |  | X | 0.061157
[5 empty] | Annual Annuity |  |  |  | 76193.3